Name__________________________________ Date_________________ Period______

The Microscope

Introduction:

“Micro” refers to tiny; “scope” refers to view or look at. Microscopes are tools used to enlarge small objects so as they can be studied. Microscopes range from a simple magnifying glass to the expensive electron microscope. The compound light microscope is the most common instrument used in education today. It is an instrument containing two lenses, which magnifies, and a variety of knobs to resolve (focus) the picture. It is a rather simple piece of equipment to understand and use. In this lab we are going to learn the proper use and handling of the microscope.

Objective:

- Demonstrate the proper procedure used in correctly using the compound light microscope.

- Prepare and use a wet mount.

- Determine the total magnification of the microscope.

- Develop a check list to ensure the proper handling of the microscope.

Materials:

- Compound microscope

- Glass slides

- Cover slips

- Eye dropper

- Beaker of water

- The letter “e” cut from news print

- Scissors

Procedure:

- Proper Handling of the Microscope:

- The teacher will demonstrate the correct procedure in transporting the microscope.

- One person from each group will go over to the microscope storage area and properly transport one microscope to your working area.

- The other person in the group will pick up a pair of scissors, news print, a slide and a cover slip.

- Plug in the scope. DO NOT TURN ON UNTIL TOLD TO DO SO.

- Examine the microscope and give the function of each of the parts found below.

- Eyepiece __________________________________________________________

- Objectives ________________________________________________________

- Stage _____________________________________________________________

- Diaphragm ________________________________________________________

- Coarse Focus ______________________________________________________

- Fine Focus ________________________________________________________

- Base _____________________________________________________________

- Light _____________________________________________________________

- Preparing a wet mount of the letter “e”

- With your scissors, cut out a small letter “e” from the news print.

- Place it on the glass slide so as to look like (e).

- Place two drops of water on the “e”.

- Put the edge of the cover slip in the water at a 45 degree angle and drop the cover slip on the “e” as demonstrated by your teacher.

- Turn on the microscope and place the slide on the stage, making sure the “e” is facing the normal reading position (see figure above). Using the COURSE focus and LOW power, adjust the microscope until the “e” can be seen clearly. Draw what you see in the space below.

- Describe the relationship between what you see through the eyepiece and what you see on the stage.

______________________________________________________________________________________________________________________________________________________________________________________________________

- Offer an explanation of why this happened.

______________________________________________________________________________________________________________________________________________________________________________________________________

- Looking through the eyepiece, move the slide to the upper right area of the stage. What direction does the image move? __________________________________________________________________

- Now move it to the lower left side of the stage. What direction does it move?

__________________________________________________________________

- Re-center the slide and change the scope to HIGH power, USE ONLY THE FINE FOCUSE KNOB; DO NOT TOUCH THE COURSE FOCUS KNOB.

- Locate the diaphragm under the stage. Move it and record the changes in light intensity as you do so.

____________________________________________________________________________________________________________________________________

- Determining Total Magnification:

- Locate the numbers inscribed on the eye piece and the LOW power objective and fill in the blanks below.

Eyepiece magnification    	(X)	Objective magnification  	=  Total magnification

________________   	(X)	   ________________   	=_______________X

- Do the same for the HIGH power objective.

________________   	(X)	   ________________   	=_______________X

- Write out the rule for determining the total magnification of a compound microscope.

____________________________________________________________________________________________________________________________________

- Remove the slide and clean it up. Turn off the microscope and WIND up the cord so that it resembles its original position. Make sure to leave the microscope with the LOW power objective in place and the stage at the lowest position. Place the scope back in its original position.

Summary:

- Develop a procedure by which ANYONE can follow to demonstrate the proper handling of the microscope.

______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

# Text boxes

e